## Slide 1: Atmospheric Sciences 370 Observing Systems Winter 2026
Observations are the foundation of all meteorological applications

## Slide 2: Two Types of Observations: Direct versus Indirect
  Direct: measurement at the location of the instrument
  Indirect: remotely sensed using radiation measurements
Direct: surface weather stations, radiosondes
Indirect: satellite sensing of the temperature of clouds, atmosphere, and the surface. Cloud-track winds.

## Slide 3: Over the Past Decades, A Trend to Dominance by Indirect Observations

## Slide 4: ASOS: Automated Surface Observing System Backbone Surface Observing System in the U.S.

## Slide 5: ASOS
Located at primary and secondary airports
Supported by the FAA and NWS
High-quality instrumentation that is well maintained and calibrated.
Reported in METAR format

## Slide 7
Hydrothermograph

## Slide 8
Precipitation Gauges
Many are shielded

## Slide 9: Some Even with Double Shields
Shields reduce wind and turbulent eddies around gauges which can lessen catch efficiency. The largest effect of wind is on snow.

## Slide 10: Catch Efficiency: Better for Shielded Gauges

## Slide 11
Laser Weather
Identifier
No human intervention!
Rain versus snow, etc.

## Slide 12
Acoustic Anemometer/Wind Direction

## Slide 13
Anemometer
Wind Vane
Mechanical wind instruments no longer used in ASOS!
Suffered from icing.
Did not measure low speeds well.

## Slide 14
Laser Ceilometer
The ceiling is the height of the lowest cloud layer
Measures time for laser pulse to reflect off clouds
Very important for aviation.

## Slide 15
Can Also Provide Vertical Profiles of Clouds and Smoke

## Slide 16: Can Sense Wildfire Smoke

## Slide 17
ASOS Pressure Sensor

## Slide 18: ASOS Pressure Sensors
Gold Standard
Three sensors, requires agreement of at least two.
Accuracy: +-.02 inches of mercury ( .67 hPa)
Resolution: .003 inches, .1 hPa

## Slide 19
The ASOS Freezing Rain Sensor
Uses an ultrasonically vibrating probe to detect the presence of icing conditions. The vibrating frequency of the probe decreases with the accumulation of ice.

## Slide 20
Lightning Sensor
Visibility Sensor

## Slide 21: Observing Heights (ASOS and Most Official Obs)
Temperature and dew point (2-m)
Wind speed and direction (10-m)

## Slide 22
Full ASOS system in Arizona

## Slide 23: Global Coverage of Airport Stations

## Slide 24: Airport Observation are Transmitted in METAR Format
Name came from the French words, MÉTéorologique ("Weather") Aviation Régulière ("Routine").
Example: KSEA 042353Z 11008KT 10SM FEW050 SCT070 OVC090 09/03 A2879 RMK AO2 SLP756 60001 T00940033 10117 20083 58013

## Slide 25: METAR Code

## Slide 26: Many Other Surface Networks
Bureau of Land Management
USDA RAWS
Agrimet
PAWS
Department of Ecology
Puget Sound Clean Air
BC Hydro
Tempest
Purple Air
Weather Underground
Many more!

## Slide 27: Several States Have Set Up Mesonets

## Slide 28
Oklahoma Mesonet

## Slide 29: New York Mesonet

## Slide 30: Purple Air Network

## Slide 31: Tempest Network

## Slide 32: Weather Underground

## Slide 33
Networks of Networks
MesoWest: Collects about 100 networks over the western third of U.S.
MADIS: NOAA national collection of mesonets

## Slide 35: One of the best viewers of many networks: NOAA Weather/Hazards
https://www.wrh.noaa.gov/map/?obs=true&wfo=sew

## Slide 36: Major Change
In 1980, there were approximately 1000 real-time surface observations in the U.S., mainly at airports
Today, with so many networks, there are several hundred thousand.

## Slide 37: Marine Weather and Surface Ocean Reports

## Slide 38
Ocean and Lake
Weather Buoys
Anchored

## Slide 39: Drifting Buoys: Move Around!
Wind
Pressure

## Slide 40
Coastal Marine (CMAN) Reports from the Coast Guard

## Slide 41
Northwest Buoy and CMAN Locations

## Slide 44
Ship Reports: Marine VOS Program
Volunteers Observers--generally 6-hourly reports
Highly variable quality and frequency

## Slide 47: Satellite Microwave Scatterometers: Microwaves scattering off surface waves give surface wind and direction

## Slide 48
QuickScat Satellite
Bounces microwaves off the ocean surface
Capillary waves dependent on wind speed and direction

## Slide 49
Satellite
Microwave
Scatterometer
Winds

## Slide 51: Satellite Scatterometer Coverage

## Slide 52: Upper Air Data

## Slide 53
Radiosondes
First launched in 1929

## Slide 54: Radiosondes
Provides temperature, humidity (relative humidity), pressure, and wind speed/direction)
Generally launched twice a day (00 and 12 UTC).

## Slide 55: Radiosondes
A typical radiosonde sounding ascent can last ~2 hours
In that time, the radiosonde can ascend to an altitude exceeding 35 km (about 115,000 feet) and drift more than 300 km (about 180 miles) from the release point.
Typical pressure at balloon burst about 5 hPa (1/200th of surface pressure).

## Slide 56: Generally launched twice a day at 00 and 12 UTC
About 1000 locations around the world

## Slide 57: There are websites that track them..

## Slide 58
Radar Wind Profiler and RASS (Radio Acoustic Sounding System)
Can provide temperature and wind with height
Can also provide information on precipitation/clouds

## Slide 62
Aircraft Observations
Often on wide-body aircraft
ACARS: Aircraft Communications Addressing and Reporting System

## Slide 64
Can Get Soundings from Aircraft Ascent and Descent

## Slide 65
Time
Height
Cross
Section
From
Aircraft
Obs
At SeaTac

## Slide 66: Also, data from Commuter and Short Haul Aircraft

## Slide 67: Weather Satellites Now Provide Roughly 99% of the Weather Data Going into Weather Prediction

## Slide 68: Satellite Data
Geostationary and Polar Orbiting Satellites
Geostationary
Polar Orbiter

## Slide 69
GOES
Geostationary Operational Environmental Satellite

## Slide 70
Geostationary satellites see the whole hemisphere

## Slide 71: Generally View Sectors

## Slide 72
Putting them together, one can monitor the entire planet

## Slide 73
NOAA Polar
Orbiter Weather
Satellite
Polar Orbiter: Higher resolution/more sensors, lower (~800 km)

## Slide 74
Polar Orbiters Provide a High-Resolution View
A polar
low

## Slide 75: Weather Satellites Provide MUCH More Than Imagery

## Slide 76
Cloud and
Water Vapor
Track Winds
Based on Geostationary Weather Satellites

## Slide 78: Atmospheric Moisture Vectors from Satellites

## Slide 79
GOES sounder Unit: observes atmosphere/earth’s emissions in several wavelengths

## Slide 80
Views the Earth
at many wavelengths,
each wavelength/channel sensing temperature at a specific layer

## Slide 81
Satellite Temperature and Humidity Soundings

## Slide 82: Can create vertical satellite soundings in both infrared and microwave wavelengths

## Slide 83: High-Resolution Infrared Radiation Sounder

## Slide 84: Microwave Sounders

## Slide 85: GPS (Global Positioning System) Soundings
A constellation of GPS satellites orbit the earth.
A collection of special satellites can receive the GPS signal (called GPS-RO, GPS Radio Occultation)
By measuring the delay of the GPS signal as it is bent by the earth’s atmosphere, one can determine atmospheric density variations in the vertical that can be used to create temperature and humidity soundings.

## Slide 89
During the early 90s, the NWS installed a network of powerful Doppler Weather
radars, a.k.a.
NEXRAD
WSR88D
Weather Radar

## Slide 90: NWS Radar Sites

## Slide 91: Weather Radar
Reflectivity (precipitation intensity)
Doppler Velocities (radial velocities)
Polarimetric Information (precipitation type and other information)

## Slide 92
Camano
Island
Weather
Radar

## Slide 93: Crowdsourced Weather Data
Securing weather data from devices intended for other purposes.
Example: pressure data from smartphones

## Slide 94: Smartphone Pressures

## Slide 95: Weather Data from the Purple Air Air Quality Network

## Slide 96: mping: NWS acquiring crowdsourced weather observations from phones

## Slide 97: Mping Example

## Slide 98: A Synoptic Meteorologist Needs to Know The Accuracy of Various Observational Assets

## Slide 99: Typical Observation Errors at the Surface (Important when doing analyses!)
Sea Level Pressure
  Low-elevation land stations +-0.5 mb
  Ships +- 1-5 mb
Temperature: +-1C
Wind Speed: +-2-5 knots, very light winds often a problem—especially for classical anemometers.
Relative Humidity: +-10%

## Slide 100: Typical Radiosonde Errors
Geopotential heights:
  700 mb (hPa): 5-10 m
  500 mb 10-15 m
  300 mb 15-20 m
  100 mb 20-30 m
Temperature: +-0.5C
Wind speed: +-5%,+-10 degrees

## Slide 101: Some Terminology Often Used
Synoptic scale
Mesoscale
Microscale

## Slide 102: Synoptic Scale (1000 km and more)

## Slide 103: Mesoscale (10-1000 km)

## Slide 104: Microscale (smaller than 10 km)

## Slide 105: The END